## Emergency Response Colour Coding

| Emergency | Colour |
| --- | --- |
| Evacuation | Orange |
| Fire /Smoke | Red |
| Medical | Blue |
| Internal (Gas, Electrical) | Yellow |
| Active Armed Offender | Black |
| Personal Threat | Black |
| External (Cyclone, Natural disasters) | Brown |
| Bomb Threat | Purple |

Emergency Response Procedures

| Evacuation – prepare to evacuate What is it: movement of people away from danger. When to do it: upon the sound of a fire alarm, an actual fire, or other internal threat. What to do: upon direction from Wardens, Security or Emergency Services. |  |
| --- | --- |
| Alert tone ‘Beep Beep Beep’ |  |
| Staff will: - Advise students to prepare to evacuate. - Check the area for any fire, smoke, or other hazards. - Enquire if any students need assistance to evacuate and allocate people to assist. - Shut down any hazardous equipment - Await further instructions or evacuate if there is an immediate danger or threat to life. | Students will: - Listen for instructions relayed over the public address system or from wardens. - If safe to do so - prepare yourself to evacuate, shut down work, switch off appliances, close gas valve and make the area safe. - Commence evacuation when the evacuation tone sounds, or you are instructed to by a staff member or warden. |

| Evacuation – evacuate to the Assembly Area |  |
| --- | --- |
| Evacuation tone ‘Whoop, Whoop, Whoop’ |  |
| Staff will: - Commence the evacuation on the sound of the evacuation tone. - Advise students to evacuate to the Assembly Area. - Check the room or area for any remaining people. - Lead students and visitors to the exit. - Evacuate to the Assembly Area. - Advise the warden if someone is missing or could net evacuate. | Students will: - Evacuate the area using marked evacuation routes. - DO NOT use lifts. - Follow directions of CDU staff, Wardens, Security, or Emergency Services. - Go to the Assembly Area. |

Evacuation – Roles

Local Incident Controller – manage an incident within their work area. Will manage the initial response and provide support to the Critical Incident Controller. On-scene Commander – in most incidents will be Security. Will assume immediate operational responsibility for the evacuation, coordinate activities and report to the Local Incident Controller and Emergency Services. Building Warden – will go to the Warden Intercom Point (WIP) to coordinate the evacuation. Will liaise with the floor wardens and communicate with Local Incident Controller, On-scene Commander, or Emergency Services. Floor Warden – check floor to ensure all occupants have evacuated and report to the Building Warden. First Aid Officer – obtain first aid kit and provide first aid where appropriate.

| Fire/Smoke |  |
| --- | --- |
| Action: Upon observing fire or smoke: RACE |  |
| REMOVE - Move yourself or others away from danger if safe to do so. ALARM - Alert nearby occupants of the danger. - Call Emergency Services on 000. - Notify campus Security. - Activate the fire alarm ‘break glass’ (if available). CONTAIN - Close doors and windows if safe to do so. - Only attempt to extinguish the fire using appropriate equipment if you are trained and it is safe to do so. EVACUATE - Go to the Assembly Area – refer to the Evacuation Diagrams within the building. - Follow exit signs and pathways. - DO NOT use lifts DO NOT re-enter the building until advised by Emergency Services, Security or a member of the ECO. |  |
| Depending on the nature of the incident, the scene of the incident may need to be preserved pending notification to the relevant Regulator. |  |
| After the incident: Staff: - Do not disturb the scene. - Notify your Supervisor. - Complete an Accident Injury Illness Report. | Students: - Do not disturb the scene. - Notify you lecturer who will complete an Accident Injury Illness Report. |

| Medical Emergency / AED |  |
| --- | --- |
| Action: For an incident which may be life threatening – contact emergency services on 000 |  |
| For medical emergencies, follow DRSABCD DANGER - Ensure the area is safe for yourself, the patient, and bystanders. RESONSE - Check for response – ask name – squeeze shoulders. - NO RESPONSE – send for help. - RESPONSE – make the patient comfortable, check for injuries and monitor. SEND FOR HELP - Call Ambulance on 000 or ask another person to make the call. - Notify the Campus Security AIRWAY - Open mouth and place the patient in the recovery position and clear any foreign matter. - Open the air way by tilting head with a chin lift. BREATHING - Look, listen and feel for breathing. - No breathing – start CPR - Normal breathing – place patient in recovery position, monitor, manage injuries and treat for shock. CPR - Perform 30 compressions followed by 2 breaths. - Continue CPR until help arrives or the patient recovers. DEFIBRILLATION - Apply defibrillator – if available – attach AED and follow prompts. - Defibrillators are located in various locations across campuses – see map – insert map link?? |  |
| Depending on the nature of the incident, the scene of the incident may need to be preserved pending notification to the relevant Regulator. |  |
| After the incident: Staff: - Do not disturb the scene. - Notify your Supervisor. - Complete an Accident Injury Illness Report. | Students: - Do not disturb the scene. - Notify you lecturer who will complete an Accident Injury Illness Report. |

| Active Armed Offender What is it: an attacker armed with a gun, knife or other weapon. When: if you see an armed offender or are notified by public address system staff or Warden. What to do: move away from the incident site and follow instructions of staff, Security, wardens or emergency services. |  |  |
| --- | --- | --- |
| Action: ESCAPE. HIDE. TELL. |  |  |
| Students, staff and visitors will: |  |  |
| ESCAPE - Escape if safe to do so, or conceal yourself using available cover such as buildings, concrete walls, larges trees, or fences. - Do not gather at emergency evacuation points. | HIDE - Hide in a place that offers you protection, such as under a desk and away from windows. - Stay out of sight, keep quiet and silence phone. - Close curtains or blinds if safe to do so. | TELL - Contact 000 or Campus Security. - Advise of the location of the incident. - The nature of the threat. - Description of the offender and details of any weapons being used. |
| Consider looking for something you can use to defend yourself with as a last resort. |  |  |

| Gas or Chemical Release What is it: the leak or spill of a hazardous material or substance. When: this could occur during University activities as a result of an accident/incident, or on a neighboring site. What to do: follow instructions of Wardens, Security or Emergency Services. |  |
| --- | --- |
| Action: move away from danger and prepare to evacuate |  |
| Staff will: - Follow laboratory emergency guidelines. - Move people away from danger. - Do NOT attempt to clean up unless properly trained. - Evacuate the area and stay up wind. - Isolate the area – close doors. - Notify Campus Security. - Preserve the site of the incident as it may be a notifiable incident. - Follow directions of Wardens, Security or Emergency Services. - Notify students of the Assembly Area – refer to the Evacuation Diagram. | Students will: - Move away from danger. - Evacuate the immediate area and stay up wind. - Alert nearby occupants of the situation. - Inform your lecturer or a CDU staff member of the situation. - Follow directions of CDU staff, Wardens, Security or Emergency Services. - Follow emergency exit paths and signage. - Go to the nearest assembly area – refer to the evacuation diagram. |

| Power Outage What is it: a power outage will cause lighting and electrical appliances to stop. When: this could occur during University activities as a result of an accident/incident, equipment failure, or a problem with the power network off-site. What to do: follow instructions of Wardens, Security or Emergency Services. |  |
| --- | --- |
| Action: Turn off equipment and prepare to evacuate. |  |
| Staff will: - Move to an area with natural light if safe to do so. - Notify Facilities Management - Follow directions of Wardens, Public Address System, Security, Electrical Contractors or Emergency Services. - Shutdown equipment if it may become hazardous. Treat all electrical equipment as live – power may be restored without notice. - Evacuate if told to do so. - Follow emergency exit paths and signage. - Go to the nearest assembly area – refer to the evacuation diagram. | Students will: - Move to an area with natural light if safe to do so. - Inform your lecturer or CDU staff member of the situation. - Follow directions of Wardens, Public Address System, Security, Elecrical Contractors or Emergency Services. - Evacuate if told to do so. - Follow emergency exit paths and signage. - Go to the nearest assembly area – refer to the evacuation diagram. |
| If stranded in a lift press the Emergency button or call Campus Security. |  |

| Cyclone What is it: weather event with destructive winds, heavy rainfall, flooding and storm surges. When: cyclones generally occur during the months of November and May. What to do: follow instructions issued by Emergency Services or the Critical Incident Controller. |  |  |
| --- | --- | --- |
| Action: follow advice of Emergency Services and Critical Incident Controller |  |  |
| Follow the instructions of the local area cyclone action plan. |  |  |
| Advice warning: - Check area for loose items, tie down large and light items. - Await advice of the Critical Incident Controller. | Watch and act: - Ensure all plans are activated. - Decide on where you will evacuate to. - Remain indoors. - Listen to local radio for updates. | Emergency warning: - Seek/take shelter - It is too late to leave. - Stay away from windows and doors. - Listen to local radio for updates. |
| Do not return to campus or enter any buildings until they have been assessed by Facilities Management and the all-clear given to re-occupy. |  |  |

| Natural disasters |  |  |
| --- | --- | --- |
| Action: follow advice of Wardens, Security, or Emergency Services. |  |  |
| Flood - If the building is in danger of flooding, evacuate to a safe area. - Notify Facilities Management of the location and situation. - Switch off any electrical or gas equipment that could be affected by water – if it is safe to do so. - Move chemicals, documents and equipment to a safe area – if safe to do so. - DO NOT enter floodwaters. | Storm - If outside, seek shelter. - Move away from windows. - Shelter in the strongest part of the building. - Stay clear of glass atriums. - Notify Facilities Management of any damage. | Earthquake - Stay inside. - Do not use lifts or stairs. - Shelter in doorways, under desks or beside an internal wall. - Keep away from windows or falling objects. - If outside – stay outside. - Take shelter away from buildings - Prepare for aftershocks - Report any damage to Facilities Management |
| Refer to campus specific emergency response plans. |  |  |

| Personal Threat What is it: if a person’s behaviour is threatening (verbal or physical) What to do: if you or someone else is in immediate danger contact Police on 000 |  |
| --- | --- |
| Action: report threatening behaviour |  |
| De-escalate - If possible, leave the area and alert bystanders to move away. - Talk slowly and calmly. - Do not argue or provoke the person. - Do not make quick and sudden movements. - Keep a safe distance between you and the other person. - Position yourself close to the exit points. - Contain yourself in a secure area – lock the door and stay out of sight. | After the incident - Report the incident to your Supervisor, Security and WHS Team. - Make notes of the interaction, what was said, what they did, use the checklist to assist. - Seek support if required – EAP - Consider changing your personal movements – paths of travel etc. |
| Personal Threat report information |  |
| - Name of offender - Gender - Age hair colour - Height - Build - Clothing - Scars/tattoos /piercings | - Time, date and location - What did they say? - What did they do? - Were any weapons involved? - Where did they go? - Any vehicles involved? - Were there any injuries? - Details of witnesses |

Bomb Threat

Action: remain calm, do not touch suspicious objects

Threat by phone - Remain calm. - Treat the call as genuine. - Attract the attention of a second person and have them notify Security. - Record what the caller says - Ask questions about the bomb – where is it? What does it look like? Complete the Bomb Threat Checklist if it readily available. - Note backgrounding noises in the call. - Note the voice characteristics of the caller. - Contact Security and Supervisor. - Follow the advice of Wardens, Security or Emergency Services. - Assist in the search if required. - Evacuate the building when directed. Threat by letter - Remain calm. - Do not handle or let others handle the letter. - Follow the advice of Wardens, Security or Emergency Services. - Assist in the search if required. - Evacuate the building when directed. Located object/device - Remain calm. - Do not touch it. - Do not use electronic devices or mobile phones. - Contact campus Security - Notify Supervisor. - Follow the advice of Wardens, Security or Emergency Services. - Evacuate the building when directed.

Bomb Threat report information

What to ask: - Where is the device located? - When is it going to explode? - What does it look like? - How will it explode? - What substances will be released? - Did you out it there? Who put it there? - What is your name? - Where are you? Call observations: - Note down the phone number - Accent - Any impediment - Voice (loud, soft) - Speech (fast, slow) - Manner (calm, emotional) - Was the caller familiar with the University - Background noises (cars, aircraft, machinery, voices) - Duration of the call Details of receiver of the call: - Time - Date - Name - Phone number