Example - Confined Space Register Assessment Criteria

|  | Confined space criteria |  |  |  |  |  | Confined space? |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Example of the space and activity | A | B | C | D |  |  | If the answer to A, B, C and at least one of D is yes, then the space is a confined space. |
|  | Is the space enclosed or partially enclosed | Is the space not designed or intended to be occupied by a person | Is the space designed or intended to be, at normal atmospheric pressure while any person is in the space | Does the space present a risk from: |  |  |  |
|  |  |  |  | Harmful airborne or flammable contaminants | An unsafe oxygen level | Engulfment |  |
| Sewer with access via a vertical ladder |  |  |  |  |  |  | Yes |
| Dislodging grain from a silo with sole access through a manhole at the top |  |  |  |  |  |  | Yes |
| Cleaning spilled cadmium pigment powder in a shipping container |  |  |  |  |  |  | Yes |
| Inspecting a fuel tank in the wing of an aircraft |  |  |  |  |  |  | Yes |
| Dislodging a sludge blockage in a drain pit |  |  |  |  |  |  | Yes |
| Internal inspection of a new, clean tank prior to commissioning |  |  |  |  |  |  | No |
| Internal inspection of an empty cement silo through a door at ground level |  |  |  |  |  |  | No |
| Stocktake using an LPG forklift in a fruit cool store |  |  |  |  |  |  | No |
| Installing insulation in a roof cavity |  |  |  |  |  |  | No |